## 2852-14
MSL 2852-14 n-type
BB1
DEPLETION=30V | [10 empty] | these columns for easy graph |  | Columns to find inter resistance
THICKNESS=290uM
with individual strip at bias + 1V
|  | BACK SIDE |  |  | current in the light | [5 empty] | @dep | @ dep+30v
STRIP | current | @ dep | current | @ dep+30v | @ nominal voltage |  | current | @ dep | current | @ dep+30v | current | current | sum of differences | sum of differences | Derived inter resistance (ohms)
NUMBER | (A) | (V) | (A) | (V) | (A) | (V) | (A) | (V) | (A) | (V) | (nA) | (nA) | @ dep | @ dep+30v | Dep | @ dep+30v
1 | -5.7784e-08 | 30 | -7.504e-08 | 60 | -1.6969e-06 | 1 | -7.362e-08 | 30 | -7.7009e-08 | 60 | 57.784 | 75.0396 | 1.5836e-08 | 1.9693e-09 | 63146860.6538 | 507794647.8444
2 | -2.3382e-10 | 30 | -1.4784e-09 | 60 | -2.5205e-07 | 1 | -5.3576e-10 | 30 | -1.6551e-09 | 60 | 0.23382 | 1.4784 | 3.0195e-10 | 1.767e-10 | 3311830720.4093 | 5659309564.2332
3 | -3.2995e-10 | 30 | -1.7581e-09 | 60 | -2.9118e-07 | 1 | -5.6935e-10 | 30 | -1.6847e-09 | 60 | 0.32995 | 1.7581 | 2.3941e-10 | 7.34e-11 | 4177011732.3906 | 13623978201.6349
4 | -2.8163e-10 | 30 | -1.5113e-09 | 60 | -1.4652e-07 | 1 | -5.8114e-10 | 30 | -1.7361e-09 | 60 | 0.28163 | 1.5113 | 2.9952e-10 | 2.248e-10 | 3338698622.0189 | 4448398576.5125
5 | -2.8293e-10 | 30 | -1.6054e-09 | 60 | -2.8312e-07 | 1 | -6.4264e-10 | 30 | -1.8188e-09 | 60 | 0.28293 | 1.6054 | 3.5972e-10 | 2.134e-10 | 2779972411.5538 | 4686035613.8707
6 | -4.9644e-10 | 30 | -6.7985e-09 | 60 | -1.5656e-07 | 1 | -4.6775e-10 | 30 | -8.5252e-09 | 60 | 0.49644 | 6.7985 | 2.8696e-11 | 1.7267e-09 | 34848062447.7279 | 579139398.8533
7 | -2.6186e-10 | 30 | -1.348e-09 | 60 | -2.7437e-07 | 1 | -5.0851e-10 | 30 | -1.7308e-09 | 60 | 0.26186 | 1.348 | 2.4664e-10 | 3.828e-10 | 4054431554.5055 | 2612330198.5371
8 | -3.6207e-10 | 30 | -1.5885e-09 | 60 | -1.6692e-07 | 1 | -4.7721e-10 | 30 | -1.7114e-09 | 60 | 0.36207 | 1.5885 | 1.1514e-10 | 1.229e-10 | 8684890461.819 | 8136696501.2205
9 | -4.3142e-10 | 30 | -1.7661e-09 | 60 | -2.6714e-07 | 1 | -5.2646e-10 | 30 | -1.7528e-09 | 60 | 0.43142 | 1.7661 | 9.5037e-11 | 1.33e-11 | 10522273021.4181 | 75187969924.8123
10 | -2.7324e-10 | 30 | -1.5864e-09 | 60 | -1.7371e-07 | 1 | -5.2177e-10 | 30 | -1.8941e-09 | 60 | 0.27324 | 1.5864 | 2.4853e-10 | 3.077e-10 | 4023725495.0088 | 3249918752.0312
11 | -3.3544e-10 | 30 | -1.335e-09 | 60 | -2.5952e-07 | 1 | -6.4052e-10 | 30 | -1.8068e-09 | 60 | 0.33544 | 1.335 | 3.0508e-10 | 4.718e-10 | 3277840584.8454 | 2119542178.8894
12 | -4.3164e-10 | 30 | -2.0233e-09 | 60 | -1.8185e-07 | 1 | -5.5785e-10 | 30 | -2.2311e-09 | 60 | 0.43164 | 2.0233 | 1.2621e-10 | 2.078e-10 | 7923070157.9939 | 4812319538.0173
13 | -4.4107e-10 | 30 | -1.5046e-09 | 60 | -2.4843e-07 | 1 | -6.7455e-10 | 30 | -1.8021e-09 | 60 | 0.44107 | 1.5046 | 2.3348e-10 | 2.975e-10 | 4282937718.3763 | 3361344537.8151
14 | -3.8686e-10 | 30 | -1.4613e-09 | 60 | -1.8849e-07 | 1 | -5.454e-10 | 30 | -1.7157e-09 | 60 | 0.38686 | 1.4613 | 1.5854e-10 | 2.544e-10 | 6307675810.694 | 3930817610.0629
15 | -2.7136e-10 | 30 | -1.8224e-09 | 60 | -2.3269e-07 | 1 | -5.5755e-10 | 30 | -2.0628e-09 | 60 | 0.27136 | 1.8224 | 2.8619e-10 | 2.404e-10 | 3494206605.4482 | 4159733777.0383
16 | -2.731e-10 | 30 | -1.4642e-09 | 60 | -1.9436e-07 | 1 | -4.546e-10 | 30 | -1.7744e-09 | 60 | 0.2731 | 1.4642 | 1.815e-10 | 3.102e-10 | 5509626695.2433 | 3223726627.9819
17 | -2.7163e-10 | 30 | -1.4604e-09 | 60 | -2.2285e-07 | 1 | -6.8883e-10 | 30 | -1.8492e-09 | 60 | 0.27163 | 1.4604 | 4.1719e-10 | 3.888e-10 | 2396972144.7867 | 2572016460.9054
18 | -4.4307e-10 | 30 | -1.5934e-09 | 60 | -2.0057e-07 | 1 | -4.968e-10 | 30 | -1.7351e-09 | 60 | 0.44307 | 1.5934 | 5.3729e-11 | 1.417e-10 | 18611749597.5209 | 7057163020.4658
19 | -5.7654e-10 | 30 | -1.4903e-09 | 60 | -2.154e-07 | 1 | -5.4735e-10 | 30 | -1.8364e-09 | 60 | 0.57654 | 1.4903 | 2.9193e-11 | 3.461e-10 | 34255256469.1052 | 2889338341.5198
20 | -2.7889e-10 | 30 | -1.4525e-09 | 60 | -2.0702e-07 | 1 | -4.8944e-10 | 30 | -1.7872e-09 | 60 | 0.27889 | 1.4525 | 2.1056e-10 | 3.347e-10 | 4749341622.5176 | 2987750224.0813
21 | -3.8583e-10 | 30 | -1.6698e-09 | 60 | -2.1074e-07 | 1 | -3.9124e-10 | 30 | -1.7868e-09 | 60 | 0.38583 | 1.6698 | 5.407e-12 | 1.17e-10 | 184945441094.8784 | 8547008547.0085
22 | -4.5948e-10 | 30 | -1.5089e-09 | 60 | -2.1297e-07 | 1 | -6.0572e-10 | 30 | -1.9225e-09 | 60 | 0.45948 | 1.5089 | 1.4623e-10 | 4.136e-10 | 6838364317.9621 | 2417794970.9865
23 | -4.1506e-10 | 30 | -1.5893e-09 | 60 | -2.0457e-07 | 1 | -3.9877e-10 | 30 | -1.7242e-09 | 60 | 0.41506 | 1.5893 | 1.629e-11 | 1.349e-10 | 61386977366.6213 | 7412898443.2913
24 | -3.9685e-10 | 30 | -1.5291e-09 | 60 | -2.1973e-07 | 1 | -6.489e-10 | 30 | -1.9655e-09 | 60 | 0.39685 | 1.5291 | 2.5205e-10 | 4.364e-10 | 3967454179.8717 | 2291475710.3575
25 | -4.0264e-10 | 30 | -1.5415e-09 | 60 | -2.0081e-07 | 1 | -4.6349e-10 | 30 | -1.722e-09 | 60 | 0.40264 | 1.5415 | 6.0848e-11 | 1.805e-10 | 16434393899.553 | 5540166204.9861
26 | -2.5721e-10 | 30 | -1.6011e-09 | 60 | -2.3106e-07 | 1 | -5.4593e-10 | 30 | -1.829e-09 | 60 | 0.25721 | 1.6011 | 2.8872e-10 | 2.279e-10 | 3463558515.4357 | 4387889425.1865
27 | -1.6048e-10 | 30 | -1.5376e-09 | 60 | -1.9371e-07 | 1 | -4.8308e-10 | 30 | -1.7537e-09 | 60 | 0.16048 | 1.5376 | 3.226e-10 | 2.161e-10 | 3099802480.5859 | 4627487274.41
28 | -4.4867e-10 | 30 | -7.5656e-09 | 60 | -2.4113e-07 | 1 | -6.1579e-10 | 30 | -7.1031e-09 | 60 | 0.44867 | 7.5656 | 1.6713e-10 | 4.625e-10 | 5983477225.9882 | 2162162162.1622
29 | -3.7411e-10 | 30 | -1.3508e-09 | 60 | -1.861e-07 | 1 | -4.4204e-10 | 30 | -1.7234e-09 | 60 | 0.37411 | 1.3508 | 6.7932e-11 | 3.726e-10 | 14720602955.8971 | 2683843263.5534
30 | -4.2658e-10 | 30 | -1.5975e-09 | 60 | -2.5591e-07 | 1 | -1.9314e-09 | 30 | -3.1987e-09 | 60 | 0.42658 | 1.5975 | 1.5048e-09 | 1.6012e-09 | 664529495.5071 | 624531601.299
31 | -3.9627e-10 | 30 | -1.3711e-09 | 60 | -1.7683e-07 | 1 | -4.5416e-10 | 30 | -1.7427e-09 | 60 | 0.39627 | 1.3711 | 5.7888e-11 | 3.716e-10 | 17274856791.4372 | 2691065662.0022
32 | -3.2798e-10 | 30 | -1.3247e-09 | 60 | -2.6151e-07 | 1 | -1.9246e-09 | 30 | -3.0579e-09 | 60 | 0.32798 | 1.3247 | 1.5966e-09 | 1.7332e-09 | 626323186.0209 | 576967459.0353
33 | -2.4715e-10 | 30 | -1.3731e-09 | 60 | -1.6909e-07 | 1 | -5.3871e-10 | 30 | -1.7558e-09 | 60 | 0.24715 | 1.3731 | 2.9156e-10 | 3.827e-10 | 3429814001.1867 | 2613012803.7627
34 | -3.0575e-10 | 30 | -1.4219e-09 | 60 | -2.6771e-07 | 1 | -5.2519e-10 | 30 | -1.736e-09 | 60 | 0.30575 | 1.4219 | 2.1944e-10 | 3.141e-10 | 4557129081.5927 | 3183699458.7711
35 | -1.7791e-10 | 30 | -1.5045e-09 | 60 | -1.6022e-07 | 1 | -4.671e-10 | 30 | -1.7551e-09 | 60 | 0.17791 | 1.5045 | 2.8918e-10 | 2.506e-10 | 3458025108.0287 | 3990422984.8364
36 | -5.5866e-10 | 30 | -1.6383e-09 | 60 | -2.7741e-07 | 1 | -6.1636e-10 | 30 | -1.78e-09 | 60 | 0.55866 | 1.6383 | 5.7699e-11 | 1.417e-10 | 17331232787.9194 | 7057163020.4658
37 | -1.6363e-10 | 30 | -1.4389e-09 | 60 | -1.4959e-07 | 1 | -4.1528e-10 | 30 | -1.7464e-09 | 60 | 0.16363 | 1.4389 | 2.5166e-10 | 3.075e-10 | 3973660985.5236 | 3252032520.3252
38 | -4.3043e-10 | 30 | -1.4897e-09 | 60 | -2.8584e-07 | 1 | -4.4901e-10 | 30 | -1.7687e-09 | 60 | 0.43043 | 1.4897 | 1.8583e-11 | 2.79e-10 | 53813493195.2837 | 3584229390.681
39 | -1.9855e-10 | 30 | -1.5543e-09 | 60 | -1.4105e-07 | 1 | -5.5229e-10 | 30 | -1.7951e-09 | 60 | 0.19855 | 1.5543 | 3.5374e-10 | 2.408e-10 | 2826904669.4246 | 4152823920.2658
40 | -4.4832e-08 | 30 | -7.0317e-08 | 60 | -4.7203e-07 | 1 | -5.1261e-08 | 30 | -7.262e-08 | 60 | 44.8318 | 70.3169 | 6.4291e-09 | 2.3029e-09 | 155542766.4836 | 434235094.8804
TOTAL= | -1.1581e-07 |  | -2.1501e-07 |  |  |  | -1.4783e-07 |  | -2.3261e-07 |  | 115.812 | 215.0123
MSL 2852-14 n-type